## Slide 1
MODULE 3: PROGRAMMING FOR BIOLOGICAL DATA
Session 7: Diagnostic Accuracy
Sensitivity, Specificity, and ROC Curves
Instructor: Dr. Haogao Gu | Date: January 26, 2026

## Slide 2
Confusion Matrix
Understand components: TP, FP, TN, FN.
Metrics
Calculate Sensitivity, Specificity, PPV, and NPV.
ROC & AUC
Generate and interpret ROC curves and AUC values.
Optimization
Find optimal cutoffs using the pROC package.
Learning Objectives

## Slide 3
The Core Question
"Is this patient positive or negative?"
No test is perfect. We must quantify:
•
Missed cases (False Negatives): Can lead to delayed treatment and spread of disease.
•
False alarms (False Positives): Can lead to unnecessary anxiety and overtreatment.
Risk of FN
Patient sent home while sick.
Risk of FP
Healthy patient treated needlessly.
Why Diagnostic Accuracy Matters

## Slide 4
Part 1: The Confusion Matrix
Foundations of Diagnostic Testing

## Slide 5
 | Actually Positive | Actually Negative
Test Positive | ✅ True Positive (TP) | ❌ False Positive (FP)
Test Negative | ❌ False Negative (FN) | ✅ True Negative (TN)
The Four Possible Outcomes

## Slide 6
Tested 100 patients against gold standard PCR.
 | PCR+ (Disease) | PCR- (Healthy) | Total
Rapid Test + | 45 (TP) | 5 (FP) | 50
Rapid Test - | 8 (FN) | 42 (TN) | 50
Total | 53 | 47 | 100
Example: Dengue Rapid Test

## Slide 7
Definition
"How good is the test at finding POSITIVES?"
Also known as Recall.
Calculation
Using our Dengue Example:
The test detects ~85% of true cases.
Sensitivity (True Positive Rate)

## Slide 8
Rule OUT
If a highly sensitive test is NEGATIVE, you can be confident the patient does NOT have the disease.
SnNout
Sensitivity
Negative
out
Clinical Meaning: SnNout

## Slide 9
Tested 100 patients against gold standard PCR.
 | PCR+ (Disease) | PCR- (Healthy) | Total
Rapid Test + | 45 (TP) | 5 (FP) | 50
Rapid Test - | 8 (FN) | 42 (TN) | 50
Total | 53 | 47 | 100
Example: Dengue Rapid Test

## Slide 10
Definition
"How good is the test at identifying NEGATIVES?"
Calculation
Using our Dengue Example:
The test correctly identifies ~89% of healthy people.
Specificity (True Negative Rate)

## Slide 11
Rule IN
If a highly specific test is POSITIVE, you can be confident the patient HAS the disease.
False Positive low, then should be True positive.
SpPin
Specificity
Positive
in
Clinical Meaning: SpPin

## Slide 12
Tested 100 patients against gold standard PCR.
 | PCR+ (Disease) | PCR- (Healthy) | Total
Rapid Test + | 45 (TP) | 5 (FP) | 50
Rapid Test - | 8 (FN) | 42 (TN) | 50
Total | 53 | 47 | 100
Example: Dengue Rapid Test

## Slide 13
Crucial Note: These values depend heavily on disease prevalence.
PPV (Positive Predictive Value)
If test is +, how likely is disease?
Example: 90%
NPV (Negative Predictive Value)
If test is -, how likely is healthy?
Example: 84%
Predictive Values

## Slide 14
Same test (Sens 90%, Spec 90%), different populations:
Scenario | Prevalence | PPV (Confidence in +) | NPV (Confidence in -)
Screening | 1% | 8.3% (Very Low!) | 99.9% (High)
Hospital | 50% | 90.0% (Moderate) | 90.0% (Moderate)
Epidemic | 90% | 98.8% (High) | 52.9% (Low)
The Effect of Prevalence

## Slide 15
Manual Verification
It is often easiest to define the variables directly from your confusion matrix (table) output and run the formulas.
This ensures you don't mix up the denominators.
Calculating Metrics in R

## Slide 16
You can't maximize both!
Diagnostic tests usually output a continuous value (e.g., OD, concentration).
Moving the cutoff:
•
Lower Cutoff: Catch more disease (↑ Sens) but more false alarms (↓ Spec).
•
Higher Cutoff: Miss more disease (↓ Sens) but fewer false alarms (↑ Spec).
Sensitivity-Specificity Trade-off

## Slide 17
Screening
Priority: High Sensitivity
Don't miss any cases. Accept some false positives.
Confirmation
Priority: High Specificity
Avoid false diagnosis. Be sure before treating.
Blood Bank
Priority: Both High
Safety critical. Cannot miss HIV/HepC, cannot waste blood.
Clinical Priorities

## Slide 18
Part 2: ROC Analysis
Receiver Operating Characteristic

## Slide 19
A graph that visualizes the performance of a test across all possible cutoffs.
The Axes
•
Y-Axis: Sensitivity (True Positive Rate)
•
X-Axis: 1 - Specificity (False Positive Rate)
What is an ROC Curve?

## Slide 20
Key Landmarks
•
Upper Left Corner: The "Perfect" Test (100% Sens, 100% Spec).
•
Diagonal Line: Random Guessing (no better than a coin flip).
•
The Curve: The closer it bows toward the upper left, the better the test.
Reading an ROC Curve

## Slide 21
Definition
A single number that summarizes the overall discrimination ability of the test.
Probability that a random positive has a higher score than a random negative.
Interpretation
AUC | Meaning
0.5 | No discrimination (Random)
0.7-0.8 | Acceptable
0.8-0.9 | Excellent
>0.9 | Outstanding
AUC: Area Under the Curve

## Slide 22
Workflow
1.
Load pROC.
2.
Create ROC object using truth vector and test result vector.
3.
Extract AUC.
4.
Visualize.
Using the pROC Package

## Slide 23
Youden Index
Method to find the "best balance" between sensitivity and specificity.
J = Sensitivity + Specificity - 1
Maximizes distance from the diagonal line.
R Code
Finding the Optimal Cutoff

## Slide 24
When curves overlap, AUC helps decide the overall winner. If curves cross, one test might be better for high sensitivity while the other is better for high specificity.
Test 1
Test 2
Comparing Two Tests

## Slide 25
•
Confusion Matrix: The foundation (TP, FP, FN, TN).
•
Sensitivity: Finding positives (Rule OUT).
•
Specificity: Finding negatives (Rule IN).
•
ROC Curve: Visualizes performance across all cutoffs.
•
AUC: The grade of the test (0.5 to 1.0).
•
Optimal Cutoff: Depends on clinical context (Screening vs Confirmation).
Key Takeaways

## Slide 26
Tutorial 7
Optimizing the Cutoff
Open your R environment

## Slide 27
Tutorial 7: Optimizing the Cutoff
ROC Analysis in Practice

## Slide 28
Lab Context
Your lab is evaluating a new dengue ELISA assay.
Goal: Find the optimal OD cutoff for reporting.
•
Data: 40 patient samples.
•
Measurements: ELISA OD values (higher = more positive).
•
Gold Standard: PCR results (0/1).
Your Scenario

## Slide 29
1
Load
Load the data frame.
2
ROC
Generate ROC object.
3
Plot
Visualize curve & AUC.
4
Cutoff
Find Youden Index.
Tutorial Steps

## Slide 30
Ensure your data has a predictor column (OD) and a binary response column (PCR).
Step 1: Load Data

## Slide 31
Code
Note
The roc() function needs:
1.
Response: The truth (PCR).
2.
Predictor: The test value (OD).
Step 2: Generate ROC

## Slide 32
Checklist
•
Is the curve above the diagonal?
•
Is the AUC > 0.8?
•
Does it look smooth or jagged? (Small N = jagged)
Step 3: Plot ROC

## Slide 33
Code
Output Interpretation
R will output the threshold value that maximizes Sensitivity + Specificity.
Example Output: Threshold: 0.65 Sens: 0.95 Spec: 0.90
Step 4: Find Optimal Cutoff

## Slide 34
Based on your analysis, you report to the lab director.
Next Steps
Proceed to Assessment 2 to test your knowledge!
"We recommend an OD cutoff of 0.65. This provides a sensitivity of 95% and specificity of 90%, optimizing our ability to detect Dengue while minimizing false positives."
Step 5: Final Recommendation

## Slide 35
Session 7 Complete
You are now ready for Assessment 2.