## Slide 1
MODULE 3: PROGRAMMING FOR BIOLOGICAL DATA
Sanger Sequencing Analysis
Chromatograms, Quality Scores & sangeranalyseR
Instructor: Dr. Haogao Gu | Date: February 4, 2026

## Slide 2
Sanger
Understand the principles of Sanger sequencing and chain termination.
Chromatograms
Interpret trace files (.ab1) and identify common artifacts.
Phred
Calculate and apply Phred quality scores (Q20, Q30).
sangeranalyseR
Process, trim, and assemble sequences using Bioconductor.
Learning Objectives

## Slide 3
Part 1: The Anatomy of a Chromatogram
From Fluorescent Peaks to DNA Sequence

## Slide 4
The Gold Standard
Developed by Frederick Sanger in 1977.
Modern Use
•
Won Nobel Prize in Chemistry (1980).
•
Known as "Chain Termination" method.
•
Confirming mutations found by NGS.
•
Sequencing single genes (e.g., 16S rRNA).
•
Validating cloning results.
Sanger Sequencing History

## Slide 5
The Ingredients
The Process
•
Template DNA
•
Primer
•
DNA Polymerase
•
dNTPs (Normal nucleotides)
•
ddNTPs (Fluorescent Terminators)
1.
Synthesis starts.
2.
Random incorporation of a ddNTP stops the chain.
3.
Fragments of all lengths are produced.
4.
Separated by Capillary Electrophoresis.
5.
Laser detects the color of the last base.
How It Works

## Slide 6
The key to the method is the missing 3'-OH group.
Without it, the DNA polymerase cannot add the next nucleotide.
Terminator | Color
ddATP | Green
ddTTP | Red
ddGTP | Black
ddCTP | Blue
Dideoxynucleotides (ddNTPs)

## Slide 7
The raw data file (.ab1) contains the fluorescence signal trace.
•
X-axis: Time / Position.
•
Y-axis: Fluorescence Intensity.
•
Peaks: Represents a base call.
What is a Chromatogram?

## Slide 8
Good Trace
Bad Trace
•
Sharp, defined peaks.
•
Even spacing.
•
Low background noise.
•
High signal intensity.
•
Overlapping "mushy" peaks.
•
Variable spacing.
•
High background baseline.
•
Mixed signals (two peaks at once).
Reading a Chromatogram

## Slide 9
Issue | Location | Cause
Dye Blobs | Start (5') | Unincorporated dye terminators not removed.
Signal Decay | End (3') | Depletion of reagents; long fragments difficult to resolve.
Mixed Peaks | Variable | Heterozygous mutation or sample contamination.
Common Chromatogram Issues

## Slide 10
A standardized metric to quantify base call confidence.
Developed by Phil Green (University of Washington).
Phred Quality Scores

## Slide 11
Q Score | Error Probability | Accuracy
Q10 | 1 in 10 | 90%
Q20 | 1 in 100 | 99%
Q30 | 1 in 1,000 | 99.9%
Q40 | 1 in 10,000 | 99.99%
Rule of Thumb: Q20 is the minimum for reliable data.
Interpreting Phred Scores

## Slide 12
The "Frown" Shape
Sanger reads typically show:
•
Start (5'): Lower quality due to primer effects and dye blobs.
•
Middle: High quality, reliable sequence.
•
End (3'): Declining quality as signal weakens and resolution drops.
Typical Quality Profile

## Slide 14
Errors
Low-quality bases lead to false mutation calls.
Alignment
Noisy ends prevent accurate alignment to reference genomes.
Solution
Trim the unreliable ends to keep only the high-quality middle.
Why Quality Trimming?

## Slide 18
Part 2: The sangeranalyseR Package
Automated Analysis in R

## Slide 19
Features
https://sangeranalyser.readthedocs.io/en/latest/content/quickstart.html
•
Bioconductor package.
•
Reads .ab1 files directly.
•
Visualizes chromatograms and quality.
•
Automated trimming (Mott's Algorithm).
•
Contig assembly (Forward + Reverse).
sangeranalyseR

## Slide 20
Loading an AB1 File
library(sangeranalyseR) # Create SangerRead object my_read <- SangerRead( readFileName = "sample_1.ab1", readFeature = "Forward Read" ) # View summary my_read

## Slide 21
These functions generate interactive plots to inspect signal strength and base call confidence.
Visualizing Quality

## Slide 22
Extracting Sequences
# Get raw sequence (Untrimmed) primarySeq(my_read, trim = FALSE) # Get trimmed sequence (Clean) primarySeq(my_read, trim = TRUE) # Get quality scores rawSeqQuality(my_read)

## Slide 23
The Logic
The Result
This dynamic method trims poor quality regions from both ends while preserving the high-quality core.
1.
Set an error probability limit (e.g., 0.05).
2.
Calculate score: Limit - P_error.
3.
Calculate cumulative sum across sequence.
4.
Identify the substring with the maximum cumulative score.
Mott's Trimming Algorithm

## Slide 24
Trimming Parameters
my_read <- SangerRead( readFileName = "sample.ab1", TrimmingMethod = "M1", # Mott's Algorithm M1TrimmingCutoff = 0.0001, # Stringency (Lower = Stricter) baseNumPerRow = 100 # Formatting )

## Slide 25
Quality Statistics
# Extract quality vector quals <- rawSeqQuality(my_read) # Calculate metrics mean(quals) # Average quality sum(quals >= 20) # Count of good bases length(quals) # Read length

## Slide 26
Once trimmed, save your clean sequence for downstream analysis.
Exporting to FASTA

## Slide 27
Forward + Reverse
Sequencing both strands provides confirmation.
A Contig is the consensus sequence built by aligning overlapping forward and reverse reads.
Building Contigs

## Slide 28
Contig Assembly Code
# Load reads into a contig my_contig <- SangerContig( parentDirectory = "data/", FASTA_File = "reference.fasta", contigName = "Gene_X" ) # Extract consensus consensusString(my_contig)

## Slide 29
Create a comprehensive HTML report for documentation.
Includes: Chromatogram, trimming points, quality stats, and sequence text.
Generating Reports

## Slide 30
👀
Visual Check
Always inspect the chromatogram manually.
🛑
Threshold
Use Q20 as the minimum for trusted bases.
✂️
Trim
Always trim poor quality ends.
🔄
Bi-directional
Sequence Fwd & Rev for critical samples.
Sanger Analysis Best Practices

## Slide 31
•
Sanger Sequencing is the gold standard for validation.
•
Phred Scores (Q) measure accuracy logarithmically.
•
Quality Profile usually dips at the ends.
•
sangeranalyseR automates loading, trimming, and reporting.
•
Contigs combine Fwd/Rev reads for higher confidence.
Key Takeaways

## Slide 32
Tutorial 10
Processing Sanger Data
Open your R environment

## Slide 33
Tutorial 10: Processing Sanger Data
Quality Analysis & Trimming

## Slide 34
The Task
You have received Sanger sequencing data for a viral sample.
Steps:
1.
Simulate data.
2.
Analyze quality profile.
3.
Calculate stats.
4.
Trim low-quality ends.
Your Scenario

## Slide 35
Run the provided code to generate a data frame with sequence and quality scores.
Step 1: Simulate Data

## Slide 36
Plot the quality score across the sequence.
Look for the "frown" shape: low ends, high middle.
Step 2: Visualize Quality

## Slide 37
Step 3: Quality Stats
# TODO: Fill in mean_qual <- mean(sanger$...) bases_q20 <- sum(sanger$Quality >= ...)

## Slide 38
Find the first and last position where quality meets the threshold.
Step 4: Quality Trimming

## Slide 39
Compare the original length vs trimmed length. Did you improve the overall quality?
Step 5: Extract Clean Sequence

## Slide 40
Session 10 Complete
You are ready for Assessment 3.